## Net Intensities RSDs
# | Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | AsO-Hydride 91 | Se-Hydride 78 | Se-Hydride 82 | In-Hydride 115 (IS) | GasSwitch 231 | Cr-Direct 52 | Co-Direct 59 | In-Direct 115 (IS) | U-Direct 238 | Sr-Direct 88 | Cd-Direct 111 | Mo-Direct 98 | Pb-Direct 208 | Cu-Direct 63 | V-Direct 51 | End 231
1 | 2% HNO3 Conditioning |  | 10/20/2015 12:57:15 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\2% HNO3 Conditioning.081 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 2% HNO3 Conditioning |  | 10/20/2015 1:04:41 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\2% HNO3 Conditioning.082 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
3 | Calibration Blank |  | 10/20/2015 1:12:07 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\Calibration Blank.083 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
4 | STD-1 (1.25 ppb) |  | 10/20/2015 1:19:32 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\STD-1 (1.25 ppb).084 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
5 | STD-2 (2.50 ppb) |  | 10/20/2015 1:27:04 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\STD-2 (2.50 ppb).085 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
6 | STD-3 (5.00 ppb) |  | 10/20/2015 1:34:34 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\STD-3 (5.00 ppb).086 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
7 | STD-4 (10.0 ppb) |  | 10/20/2015 1:42:05 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\STD-4 (10.0 ppb).087 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
9 | ICBV |  | 10/20/2015 1:49:32 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ICBV.088 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
10 | ICV (1.25 ppb) |  | 10/20/2015 1:56:59 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ICV (1.25 ppb).089 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
11 | Test Blank |  | 10/20/2015 2:04:31 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\Test Blank .090 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
12 | ARW-FILT-L1_100X |  | 10/20/2015 2:11:57 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-FILT-L1_100X.091 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
13 | ARW-FILT-L1_10X |  | 10/20/2015 2:19:22 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-FILT-L1_10X.092 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
14 | ARW-FILT-L2 |  | 10/20/2015 2:26:48 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-FILT-L2.093 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
15 | ARW-FILT-L3 |  | 10/20/2015 2:35:43 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-FILT-L3.094 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
16 | ARW-FILT-L4 |  | 10/20/2015 2:43:08 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-FILT-L4.095 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
17 | ARW-FILT-L5 |  | 10/20/2015 2:50:34 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-FILT-L5.096 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
18 | ARW-FILT-L6 |  | 10/20/2015 2:57:59 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-FILT-L6.097 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
19 | ARW-FILT-L7 |  | 10/20/2015 3:05:24 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-FILT-L7.098 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
20 | ARW-TOTAL-L1_100X |  | 10/20/2015 3:12:49 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-TOTAL-L1_100X.099 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
21 | ARW-TOTAL-L1_10X |  | 10/20/2015 3:20:13 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-TOTAL-L1_10X.100 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
22 | ARW-TOTAL-L2 |  | 10/20/2015 3:27:38 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-TOTAL-L2.101 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
23 | ARW-TOTAL-L3 |  | 10/20/2015 3:35:02 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-TOTAL-L3.102 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
24 | ARW-TOTAL-L4 |  | 10/20/2015 3:42:28 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-TOTAL-L4.103 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
25 | ARW-TOTAL-L5 |  | 10/20/2015 3:49:54 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-TOTAL-L5.104 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
26 | ARW-TOTAL-L6 |  | 10/20/2015 3:57:20 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\ARW-TOTAL-L6.105 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
27 | CCV (5.00 ppb) |  | 10/20/2015 4:04:46 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Daily Performance\CCV (5.00 ppb).106 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\Animas River SP-Direct+Hydride.mth | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%