## Unfactored Concentrations
# | Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Sr-Direct 88 (ug/L) | Lu-Direct 175 (IS)
1 | 2% HNO3 Conditioning |  | 10/8/2015 11:09:25 AM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\2% HNO3 Conditioning.179 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth
2 | 2% HNO3 Conditioning |  | 10/8/2015 11:12:38 AM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\2% HNO3 Conditioning.180 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth
3 | Calibration Blank |  | 10/8/2015 11:15:50 AM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\Calibration Blank.181 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth
4 | STD-1 (1.25 ppb) |  | 10/8/2015 11:19:03 AM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\STD-1 (1.25 ppb).182 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 1.25
5 | STD-2 (2.50 ppb) |  | 10/8/2015 11:22:19 AM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\STD-2 (2.50 ppb).183 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.5124
6 | STD-3 (5.00 ppb) |  | 10/8/2015 11:25:34 AM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\STD-3 (5.00 ppb).184 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 5.3764
7 | STD-4 (10.0 ppb) |  | 10/8/2015 11:28:50 AM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\STD-4 (10.0 ppb).185 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 10.011
8 | Calibration Curves |  | 10/8/2015 11:28:50 AM | Failed
9 | ICBV |  | 10/8/2015 11:32:02 AM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\ICBV.186 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 0.00059525
10 | ICV (2.50 ppb) |  | 10/8/2015 11:35:15 AM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\ICV (2.50 ppb).187 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 1.8401
11 | Test Blank |  | 10/8/2015 11:38:31 AM | Passed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\Test Blank .188 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 0.00021759
12 | S1A |  | 10/8/2015 11:41:44 AM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S1A.189 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 1.1107
13 | S1B |  | 10/8/2015 11:44:56 AM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S1B.190 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 1.1708
14 | S1C |  | 10/8/2015 11:48:08 AM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S1C.191 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 1.1878
15 | S2A |  | 10/8/2015 11:51:20 AM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S2A.192 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 8.1216
16 | S2B |  | 10/8/2015 11:54:32 AM | Passed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S2B.193 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 8.2643
17 | S2C |  | 10/8/2015 11:57:44 AM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S2C.194 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 8.6484
18 | S4A |  | 10/8/2015 12:00:56 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S4A.195 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.1556
19 | S4B |  | 10/8/2015 12:04:08 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S4B.196 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.0672
20 | S4C |  | 10/8/2015 12:07:21 PM | Passed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S4C.197 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.2133
21 | S5A |  | 10/8/2015 12:10:33 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S5A.198 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.3591
22 | S5B |  | 10/8/2015 12:13:45 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S5B.199 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.461
23 | S5C |  | 10/8/2015 12:16:57 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S5C.200 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.5174
24 | S6A |  | 10/8/2015 12:20:09 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S6A.201 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 3.2242
25 | S6B |  | 10/8/2015 12:23:21 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S6B.202 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.4757
26 | S6C |  | 10/8/2015 12:26:33 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S6C.203 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.6281
27 | S7A |  | 10/8/2015 12:29:45 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S7A.204 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 1.1785
28 | S7B |  | 10/8/2015 12:32:57 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S7B.205 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 1.2399
29 | S7C |  | 10/8/2015 12:36:09 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\S7C.206 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 1.2858
30 | C2A |  | 10/8/2015 12:39:22 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\C2A.207 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.1097
31 | C2B |  | 10/8/2015 12:42:34 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\C2B.208 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.0338
32 | C2C |  | 10/8/2015 12:45:46 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\C2C.209 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.2522
33 | C7A |  | 10/8/2015 12:48:58 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\C7A.210 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.1232
34 | CCV (5.00 ppb) |  | 10/8/2015 12:52:11 PM | Passed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\CCV (5.00 ppb).211 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 4.7721
35 | C7B |  | 10/8/2015 12:55:28 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\C7B.212 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.1818
36 | C7C |  | 10/8/2015 12:58:40 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\C7C.213 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 2.052
37 | CCV (5.00 ppb) |  | 10/8/2015 1:01:52 PM | Failed | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\CCV (5.00 ppb).214 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\seaFAST\AR Sr SP-Direct.mth | 4.7203